MRI Safety: Pre Anesthesia Timeout Form

_____________________________________________________________________________________

To be completed by the MRI technologist prior to anesthesia induction to ensure that the patient has been screened properly for any possible contraindication to the MRI environment, and that the proper equipment is in place and functional.

_____________________________________________________________________________________

- YES	Correct patient?

- YES	Correct exam/protocol?

- YES	MR screening form vetted appropriately for contraindications?

- YES	The following screening questions have been verbalized with patient or family member:

- Do you have any metal or medical devices implanted in your body?

- Do you have a pacemaker?

- Do you have a hearing aid?

- Have you any injuries where metal or shrapnel was left in your eyes or body?

- YES	Patient fits appropriately?

- YES	MR monitoring equipment is operational and in place?

- YES	All equipment necessary for MR exam is validated for its’ condition of use   in the

MRI environment?

PATIENT IDENTIFICATION:

Name:

MRN:

DATE OF SERVICE:	__________________________

I acknowledge that I have completed all the required screening tasks listed above, and will complete the required MRI safety timeout prior to entering Zone 4.

TECHNOLOGIST (PRINT):__________________________

SIGNATURE:		__________________________